Exhibit C – Storm Water Practice Maintenance Plan

This Exhibit C explains the basic function of each of the storm water practices listed in Exhibit B and provides the minimum specific maintenance activities and frequencies for each practice.  The maintenance identified by the Owner should follow the maintenance activities listed in the manufacturers’ or manufacturer’s specifications or as detailed below.  Vehicle access to the storm water practices is show on Exhibit B.  Any failure of a storm water practice that is caused by lack of maintenance will subject the Owner(s) to enforcement of the provisions listed in the Agreement by the City of Evansville.

This exhibit must be customized for each site.  The minimum elements of this Exhibit C include:  a description of the drainage area and the installed storm water management practices, a description of the specific maintenance activities for each practice which should include in addition to specific actions:

- Employee training and duties (describe details).

- Routine Service Requirements.

- Operating, inspection and maintenance schedules.

- Detailed construction drawings showing all critical components and their elevations.

- Define or identify the qualified inspector (see Section 4).

References:

Place all reference materials used to detail the maintenance requirements and operating requirements of the storm water management practice.